| Permit Holder: |  | Contact Person(s): |  |  |
| --- | --- | --- | --- | --- |
| Department: |  | Date/Time: | Contact Extension: |  |
| General Information |  |  |  | ANSI Reference |  |
| Location of Laser: |  |  |  | 1.3.2.2, 1.3.2.7, 1.3.2.8, 3.4 |  |
| Manufacture: | Model: |  |  |  |  |
| Hazard Class: 3B 4 Unknown | Serial Number: |  |  | 1.3.2.1 |  |

| Administration |  |  |  |  | Comments | Reference |
| --- | --- | --- | --- | --- | --- | --- |
| 1. Lasers are classified appropriately (2, 3R, 3B, 4) | Y |  | N | N/A |  | 1.3.2.1 |
| 2. Standard operating procedures are available | Y |  | N | N/A |  | 4.4.1 |
| 3. Alignment procedures are available | Y |  | N | N/A |  | 4.4.5, 4.4.1 (4) |
| 4. Viewing cards are used for alignment | Y |  | N | N/A |  |  |
| 5. Laser users attended appropriate training | Y |  | N | N/A |  | 4.4.3, 4.4.4 |
| 6. Lasers are included in inventory | Y |  | N | N/A |  | 1.3.2.7 |
| Labeling and Posting – ANSI Z136.1 -2007 (Table 11a,b,c) |  |  |  |  | Comments | Reference |
| 7. Certification label present | Y | N |  | N/A |  |  |
| 8. Class designation and appropriate warning label present | Y | N |  | N/A |  | 4.3.14, 4.7 |
| 9. Radiation output information on label | Y | N |  | N/A |  | 4.3.14, 4.7 |
| 10. Aperture label present | Y | N |  | N/A |  | 4.7 |
| 11. Appropriate warning/danger sign at entrance to laser area | Y | N |  | N/A |  | 4.3.9 |
| 12. Warning posted for invisible radiation | Y | N |  | N/A |  | 4.3.9 |
| Personal Protective Equipment |  |  |  |  | Comments | Reference |
| 13. Eye protection is appropriate for wavelength | Y | N |  | N/A |  | 4.6.2 |
| 14. Eye protection has adequate OD | Y | N |  | N/A |  |  |
| 15. Warning lights viewable through protective filters | Y | N |  | N/A |  | 4.3.9.4.2 |
| Control Measures – ANSI Z136.1 -2007 (Table 10) |  |  |  |  | Comments | Reference |
| 16. Protective housing present and in good condition | Y | N |  | N/A |  | 4.3.1 |
| 17. Beam attenuator present | Y | N |  | N/A |  | 4.3.8 |
| 18. Laser table below eye level | Y | N |  | N/A |  |  |
| 19. Beam is enclosed as much as possible | Y | N |  | N/A |  | 4.3.6 |
| 20. Beam not directed toward doors or windows | Y | N |  | N/A |  |  |
| 21. Beams are terminated with fire-resistant beam stops | Y | N |  | N/A |  |  |
| 22. Surfaces minimize specular reflections | Y | N |  | N/A |  |  |
| 23. Controls are located so that the operator is not exposed to beam hazards | Y | N |  | N/A |  |  |
| 24. Class 3b/4: Interlocks on protective housing | Y | N |  | N/A |  | 4.3.2 |
| 25. Class 3b/4: Service access panel present | Y | N |  | N/A |  | 4.3.3 |
| 26. Class 3b/4: Limited access to spectators | Y | N |  | N/A |  | 4.3.6 |
| 27. Class 3b/4: Nominal hazard zone determined | Y | N |  | N/A |  |  |
| 28. Class 3b/4: Operators do not wear watches/ jewelry | Y | N |  | N/A |  |  |
| 29. Class 3b/4: Viewing portals present where MPE is exceeded | Y | N |  | N/A |  | 4.3.5.1 |
| 30. Class 4: Failsafe interlocks at entry to controlled area | Y | N |  | N/A |  | 4.3.10.2 |
| 31. Class 4: Area restricted to authorized personnel | Y | N |  | N/A |  |  |
| 32. Class 4: Laser may be fired remotely | Y | N |  | N/A |  |  |
| 33. Class 4: If present, curtains are fire-resistant | Y | N |  | N/A |  |  |
| 34. Class 4: Area designed to allow rapid emergency egress | Y | N |  | N/A |  |  |
| 35. Class 4: Pulsed- interlocks designed to prevent firing of the laser by dumping the stored energy into a dummy load | Y | N |  | N/A |  |  |
| 36. Class 4: CW- interlocks designed to turn off power supply or interrupt the beam by means of shutters | Y | N |  | N/A |  |  |
| 37. Class 4: Operators know not to wear ties around the laser | Y | N |  | N/A |  |  |
| Non-Beam Hazards – ANSI Z136.1 -2007 (7.2) |  |  |  |  | Comments | Reference |
| 38. High voltage equipment appropriately grounded | Y | N |  | N/A |  | 7.2 |
| 39. High voltage equipment located away from wet surfaces or water sources | Y | N |  | N/A |  |  |
| 40. High voltage warning label in place | Y | N |  | N/A |  |  |
| 41. Compressed gases secured | Y | N |  | N/A |  | 7.3.2 |

Laser Safety Officer will fill out the Safety Inspection Follow-Up Sheet based on Inspection Form